## BOQ
BOQ
| CODE | DESCRIPTION | UNIT | AMOUNT | UNIT PRICE | TOTAL PRICE
| 1 | GENERAL
| 1.1 | PRELIMINARY SERVICES
0 |  | GALVANIZED STEEL PLATE WORK PLATE | M2 | 2
0 |  | MANUAL CLEANING OF THE LAND, INCLUDING TRUNKS UP TO 5 CM IN DIAMETER, WITH A TRUCK AVAILABLE WITHIN THE SITE, UP TO A RADIUS OF 1 KM | M2 | 3086
0 |  | FIXED FENCE FOR CLOSING AREAS, WITH GATE | M2 | 437.5
0 |  | RENTAL OF OFFICE TYPE CONTAINER WITH 1 TOILET, 1 WASHBASIN AND 1 SHOWER POINT - MINIMUM AREA OF 13.80 M² | UNMES | 18
0 |  | RENTAL OF SANITARY CONTAINER WITH 2 TOILETS, 2 WASHBASINS, 2 URINALS AND 4 SHOWER POINTS - MINIMUM AREA OF 13.80 M² | UNMES | 18
0 |  | RENTAL OF WAREHOUSE CONTAINER - MINIMUM AREA OF 13.80 M² | UNMES | 18
0 |  | WORK ENGINEER | H | 1584
0 |  | SURVEYOR WITH ADDITIONAL CHARGES | MONTH | 3
0 |  | OCCUPATIONAL SAFETY TECHNICIAN WITH ADDITIONAL DUTIES | MONTH | 9
0 |  | SENIOR CONSTRUCTION ARCHITECT (SPECIALIST ARCHITECT) | H | 45
0 |  | WORKS MANAGER WITH ADDITIONAL DUTIES | H | 1584
0 |  | ENGINEER (GEOLOGIST AND/OR GEOTECHNICAL) | H | 60
0 |  | ENVIRONMENTAL ENGINEER | H | 60
0 |  | CONCRETE - STUDIES AND TESTS | UN | 10
| 1.2 | DEMOLITION
0 |  | MECHANIZED DEMOLITION OF REINFORCED CONCRETE | M3 | 499.9125
0 |  | REMOVAL OF METAL STRUCTURE INCLUDING FIXING PROFILES | KG | 30747.6
0 |  | REMOVAL OF DEBRIS WITH A METAL DUMP, INCLUDING MANUAL LOADING AND UNLOADING INTO A DUMP | M3 | 1140.4875
0 |  | REMOVAL OF CRFS OR ASBESTOS CEMENT STRUCTURAL TILES - USEFUL WIDTH=90CM | M2 | 1281.15
0 |  | LANDFILL DISPOSAL FEE FOR SOLID WASTE - ASBESTOS CEMENT TILES | T | 19.4735
0 |  | TRANSPORTATION OF SOLID WASTE IN LANDFILLS - CLASS D ASBESTOS CEMENT TILES | T | 19.4735
| 2 | URBAN PLANNING
2.1 | 2.1 | EARTHMOVING (Buildings)
0 |  | CUTTING AND LOADING FOR DISPOSAL, INCLUDING TRANSPORTATION UP TO 1KM | M3 | 3.06
0 |  | MECHANIZED EXCAVATION AND LOADING FOR SOIL EXPLORATION IN A DEPOSIT | M3 | 318.09
0 |  | TRANSPORTATION OF 1ST AND 2ND CATEGORY SOIL BY TRUCK FOR DISTANCES OVER 10TH KM TO 15TH KM | M3 | 318.09
0 |  | BACKFILLING, INCLUDING COMPACTION | M3 | 318.09
0 |  | TRANSPORTATION OF EARTH BY DUMP TRUCK, FROM 1KM | M3XKM | 91.8
2.2 | 2.2 | URBAN FURNITURE
0 |  | PRE-CAST REINFORCED CONCRETE FURNITURE - FCK= 40 MPA | M3 | 35.84
0 |  | 2" CARBON STEEL BICYCLE SUPPORT, SEAMLESS INVERTED U MODEL, WITH ELECTROSTATIC PAINTING FINISH FOR LEAD/SCREW FIXING | UN | 6
0 |  | REINFORCED CONCRETE DRINKING FOUNTAIN WITH TWO HEIGHTS | UN | 1
0 |  | DOUBLE HANDRAIL IN BRUSHED STAINLESS STEEL TUBE, WITH A DIAMETER OF 1 1/2´ AND UPPER RAILS WITH A DIAMETER OF 2´ | M | 70.05
0 |  | ELECTRO-CAST GALVANIZED IRON GRATING - 25X2MM BAR - 65X132MM MESH - UPPER WITH 1650MM DISTANCE - WITH PAINTING | M2 | 86.33
0 |  | ELECTROLYTIC PAINTED GALVANIZED IRON GATE, 65X132MM MESH, SLIDING, WITH ELECTROLYTIC PAINTING | M2 | 49.16
0 |  | PP.25/34 - PROFILED IRON GATE WITH SCREEN, 2 LEAVES | M2 | 18.9
2.3 | 2.3 | TACTILE FLOOR
0 |  | INTERLOCKING CONCRETE TACTILE FLOOR ALERT / DIRECTIONAL, 6 CM THICK, WITH SAND GROUT | M2 | 4.48
2.4 | 2.4 | URBAN FLOOR
2.4.1 | 2.4.1 | TECHNICAL ACCESS / PARKING
0 |  | MECHANIZED BACKFILL COMPACTION MINIMUM OF 95% PN, WITHOUT SUPPLY OF SOIL IN CLOSED AREAS | M3 | 153.79
0 |  | NC.27 - REINFORCED CONCRETE FLOOR/SIDEWALK, INCLUDING PREPARATION OF THE BOX, GRAVE BALLAST, METAL SCREEN AND LABOR RELATED TO CONCRETE SERVICES: LAUNCHING AND FINISHING (STRAPPED AND STRAIGHTENED), EXCLUSIVELY SUPPLYING THE CONCRETE | M3 | 35.88
0 |  | FCK=30MPA CONCRETE - MACHINED | M3 | 35.88
2.4.2 | 2.4.2 | LANDSCAPING
0 |  | LINING | M2 | 125.39
0 |  | ORNAMENTAL TREE (Date Palm - Phoenix atlantica) | UN | 11
0 |  | ROSEMARY SHRUB H=0.50M TO 0.70M | UN | 63
0 |  | Lavandula rotundifolio Benth | UN | 63
3 | 3 | MARKET
3.1 | 3.1 | PRELIMINARY SERVICES
0 |  | RENTAL OF BUILDING WORKS | M2 | 1942.14
3.2 | 3.2 | FOUNDATIONS
0 |  | MANUAL EXCAVATION WITH A DEPTH OF MORE THAN 1.50M | M3 | 624.04
0 |  | ROCKING THE BOTTOM OF DITCHES FOR SIMPLE REGULARIZATION | M2 | 312.02
0 |  | COMMON FORM OF PINE BOARDS - FLAT | M2 | 80.8
0 |  | MORTAR IN SOIL AND CEMENT AT 5% BY WEIGHT | M3 | 156.01
0 |  | CA-50 STEEL ARMOR | KG | 2264
0 |  | FCK CONCRETE = 40.0MPA - MACHINED | M3 | 64.98
0 |  | BACKFILLING OF DITCHES, INCLUDING RAMPLING | M3 | 559.06
0 |  | WATERPROOFING WITH ASPHALT BLANKET WITH REINFORCEMENT, TYPE III-B, 3 MM THICKNESS | M2 | 80.8
3.3 | 3.3 | SUPERSTRUCTURE
0 |  | CA-50 STEEL ARMOR | KG | 13853
0 |  | CA-60 STEEL ARMOR | KG | 1385
0 |  | FCK CONCRETE = 40.0MPA - MACHINED | M3 | 182.87
0 |  | COMMON FORM OF PINE BOARDS - FLAT | M2 | 1634.08
3.4 | 3.4 | VEDOS
0 |  | STANDARD CERAMIC BLOCK - 14CM | M2 | 1270
0 |  | SINGLE MASS, IN MORTAR RATIO 1:2:8, MANUAL PREPARATION, APPLIED MANUALLY ON INTERNAL WALLS OF ROOMS WITH AREA BETWEEN 5M² AND 10M², E = 17.5MM, WITH TALISCAS. AF_03/2024 | M2 | 1270
0 |  | BD.01 - PROTECTIVE PAINTING WITH EPOXY-BASED PAINT (FOR WATERPROOF MORTAR) | M2 | 926.74
0 |  | 20X20 CM ENAMELED CERAMIC PLATE COATING, MONOCOLOR TYPE, LAYED AND GROUTED WITH INDUSTRIALIZED MORTAR | M2 | 510
0 |  | ACRYLIC PAINT - CONCRETE OR PLASTER WITHOUT STAINLESS STEEL | M2 | 1270
0 |  | MIRACEMA STONE COATING | M2 | 562.8
3.5 | 3.5 | METAL STRUCTURE
0 |  | SUPPLY AND ASSEMBLY OF ASTM-A36 STEEL STRUCTURE, UNPAINTED | KG | 69792.64
0 |  | TWO-COMPONENT EPOXY PAINTING ON METAL STRUCTURES | KG | 69792.64
0 |  | FIRE GALVANIZATION SERVICE - STRUCTURES | KG | 69792.64
0 |  | ROOFING IN PRE-PAINTED STEEL PLATE WITH EPOXY AND POLYESTER, SANDWICH TYPE, 0.50 MM THICK, WITH ROCK WOOL | M2 | 2177.06
3.5.1 | 3.5.1 | LINING
0 |  | VX.06 - FGA TYPE PLASTERBOARD LINING (SUPPLY AND INSTALLATION) | M2 | 539.73
0 |  | NRC 0.85 MINERAL FIBER LINING, IN REMOVABLE ACOUSTIC PLATES OF 625MM X 1250MM | M2 | 184.14
0 |  | LINING IN PLAINED TONGUE AND GROOF PINE BOARDS | M2 | 335.62
0 |  | FIXED ALUMINUM FRAME, CUSTOM MADE | M2 | 335.62
0 |  | REMOVABLE METAL LINING, IN 625MM X 625MM PANELS, PERFORATED TEGULAR TILE | M2 | 90.99
3.6 | 3.6 | FRAMES
0 |  | PM.17/19 - PLAIN DOOR WITH MELAMINE LAMINATE - 82X210CM | UN | 20
0 |  | PM.45/49 - PLAIN WOODEN DOOR, 2 LEAVES - 204X210CM | UN | 2
0 |  | SMOOTH SLIDING WOODEN DOOR WITH FRAME | M2 | 8.59
0 |  | CA.13 - ANODIZED ALUMINUM WINDOW - TILTING | M2 | 25.6
0 |  | CA.02 - FIXED ANODIZED ALUMINUM WINDOW, WITHOUT PERMANENT VENTILATION | M2 | 8.95
0 |  | CF.19 - FRAME IN FOLDED PLATE PROFILE, SHUTTERED, FIXED WITH PERMANENT VENTILATION | M2 | 26.76
0 |  | CUSTOM-MADE ALUMINUM OPENING VENETIAN DOOR | M2 | 22.88
0 |  | CUSTOM-MADE ANODIZED ALUMINUM OPENING DOOR - BRONZE/BLACK | M2 | 15.82
0 |  | CUSTOM-MADE ANODIZED ALUMINUM SLIDING DOOR - BRONZE/BLACK | M2 | 80.32
0 |  | FIXED ALUMINUM FRAME, CUSTOM MADE | M2 | 557.82
0 |  | PM.17/19 - PLAIN DOOR WITH MELAMINE LAMINATE - 102X210CM | UN | 1
3.7 | 3.7 | GLASSES
0 |  | 6MM CLEAR SMOOTH GLASS | M2 | 114.87
|  | 8MM CLEAR TEMPERED LAMINATED GLASS | M2 | 557.82
3.8 | 3.8 | ELECTRICAL INSTALLATIONS
3.8.1 | 3.8.1 | METAL INFRASTRUCTURE
0 |  | PERF. ELECTRIC GALV. DUCTING TRAY, PLATE 14 - 150X100MM W/ LID AND INST. | M | 18
0 |  | PERF. ELECTRIC GALV. DUCTING TRAY, PLATE 14 - 100X50MM W/ LID AND INST. | M | 189
0 |  | ELECTRICAL PERF. GALV. ELECTROL. PLATE 14 - 200X50MM W/ LID AND INST. | M | 72
0 |  | PERF. ELECTRIC TRAY, ELECTROL. PLATE 14 - 400X100MM W/ LID AND INST. | M | 36
0 |  | CONDUIT TYPE JUNCTION BOX - 1" | UN | 69
0 |  | CONDUIT TYPE JUNCTION BOX - 2 1/2" | UN | 6
0 |  | ALUMINUM JUNCTION BOX WITH LID AND SEAL 30X30CM | UN | 12
0 |  | ELECTROLYTIC GALVANIZED STEEL CONDUIT, LIGHT TYPE I - 1" | M | 273
0 |  | ELECTROLYTIC GALVANIZED STEEL CONDUIT, LIGHT TYPE I - 2" | M | 18
0 |  | ELECTROLYTIC GALVANIZED STEEL CONDUIT, LIGHT TYPE I - 2 1/2" | M | 27
0 |  | PERFORATED PROFILE PLATE 14-GE-MED. 19X38MM WITH LID AND INSTALLATION | M | 78
0 |  | PERFORATED PROFILE PLATE 14-GE-MED. 38X38MM WITH LID AND INSTALLATION | M | 726
0 |  | THREADED REBAR, NUT AND WASHER OF 1/4´ DIAMETER (TIER) | M | 288
3.8.2 | 3.8.2 | WHITE PVC INFRASTRUCTURE
0 |  | CONDUIT TYPE JUNCTION BOX - 1" | UN | 16
0 |  | RIGID PVC CONDUIT, THREADABLE - 32MM (1") | M | 36
0 |  | MEDIUM FLUSH-MOUNTED SOCKET (1 MODULE), 2P+T 10 A, INCLUDING SUPPORT AND PLATE - SUPPLY AND INSTALLATION. AF_03/2023 | UN | 11
0 |  | CORRUGATED HIGH DENSITY POLYETHYLENE PIPE, DN/DI= 250 MM | M | 1110
0 |  | CORRUGATED HIGH DENSITY POLYETHYLENE PIPE, DN/DI= 400 MM | M | 1398
3.8.3 | 3.8.3 | WIRING
0 |  | 10MM² FLEXIBLE COPPER WIRE, 0.6/1KV INSULATION - HEPR INSULATION 90°C | M | 390
0 |  | 25MM² FLEXIBLE COPPER WIRE, 0.6/1KV INSULATION - HEPR INSULATION 90°C | M | 80
0 |  | 35MM² FLEXIBLE COPPER WIRE, 0.6/1KV INSULATION - HEPR INSULATION 90°C | M | 82
0 |  | 50MM² FLEXIBLE COPPER WIRE, 0.6/1KV INSULATION - HEPR INSULATION 90°C | M | 320
0 |  | 70MM² FLEXIBLE COPPER WIRE, 0.6/1KV INSULATION - HEPR INSULATION 90°C | M | 457
0 |  | 150 MM² FLEXIBLE COPPER WIRE, 0.6/1 KV INSULATION - HEPR INSULATION 90°C | M | 540
0 |  | 2.5MM² FLEXIBLE COPPER WIRE, 0.6/1KV INSULATION - HEPR INSULATION 90°C | M | 12300
0 |  | 4MM² FLEXIBLE COPPER WIRE, 0.6/1KV INSULATION - HEPR INSULATION 90°C | M | 4800
0 |  | 6MM² FLEXIBLE COPPER WIRE, 0.6/1KV INSULATION - HEPR INSULATION 90°C | M | 540
0 |  | FLEXIBLE COPPER WIRE, 750V INSULATION, NON-HALOGENATED - FLAME-PROOF - 1.5MM2 | M | 250
3.8.4 | 3.8.4 | PRIMARY CABIN
0 |  | 35 MM² COPPER WIRE, 8.7/15 KV INSULATION - EPR INSULATION 90°C | M | 60
0 |  | 50MM² FLEXIBLE COPPER WIRE, 0.6/1KV INSULATION - HEPR INSULATION 90°C | M | 20
0 |  | BASE 'C' FUSE SWITCH FOR 15 KV/100 A, WITH BREAKING CAPACITY UP TO 10 KA - WITH FUSE | UN | 3
0 |  | FIRE GALVANIZED STEEL CONDUIT, SEMI-HEAVY/MEDIUM TYPE - 4" | M | 6
0 |  | GENERATOR GROUP WITH POWER OF 350/320 KVA, VARIATION OF + OR - 10% - COMPLETE | UN | 1
0 |  | POLYMERIC TYPE LIGHTNING ARRESTER CLASS 15KV | UN | 3
0 |  | CIRCULAR CONCRETE POST, 600 KG, H = 12.00 M | UN | 1
0 |  | 500 KVA THREE-PHASE POWER TRANSFORMER, CLASS 15 KV, DRY-TYPE WITH CABIN | UN | 1
0 |  | BARE COPPER WIRE, SOFT TEMPER, CLASS 2, 50 MM² | M | 70
0 |  | SUSPENDED TYPE GROUNDING INSPECTION BOX IN PVC OR POLYPROPYLENE | UN | 4
0 |  | 5/8" X 2.4M GROUNDING ROD | UN | 4
0 |  | LID FOR CYLINDRICAL INSPECTION BOX, GALVANIZED STEEL | UN | 4
3.8.5 | 3.8.5 | GROUNDING AND LPS
0 |  | BARE COPPER WIRE, SOFT TEMPER, CLASS 2, 50 MM² | M | 240
0 |  | SUSPENDED TYPE GROUNDING INSPECTION BOX IN PVC OR POLYPROPYLENE | UN | 15
0 |  | 3/4´ X 3M GROUNDING ROD | UN | 16
0 |  | SUPPORT FOR FIXING AIR TERMINAL AND/OR BARE COPPER CABLE, WITH FLAT BASE | UN | 35
0 |  | LID FOR CYLINDRICAL INSPECTION BOX, GALVANIZED STEEL | UN | 15
3.8.6 | 3.8.6 | AIR CONDITIONING SYSTEM
0 |  | SEAMLESS COPPER TUBE, RIGID, THICKNESS 1/16" - DIAMETER 3/8", INCLUDING CONNECTIONS | M | 222
0 |  | SEAMLESS COPPER TUBE, RIGID, THICKNESS 1/16" - DIAMETER 3/4", INCLUDING CONNECTIONS | M | 78
0 |  | SEAMLESS COPPER TUBE, RIGID, THICKNESS 1/16" - DIAMETER 5/8", INCLUDING CONNECTIONS | M | 82
0 |  | SEAMLESS COPPER TUBE, RIGID, THICKNESS 1/16" - DIAMETER 1/2", INCLUDING CONNECTIONS | M | 218
0 |  | SEAMLESS COPPER TUBE, RIGID, THICKNESS 1/16" - DIAMETER 3/8", INCLUDING CONNECTIONS | M | 222
0 |  | SEAMLESS COPPER TUBE, RIGID, THICKNESS 1/16" - DIAMETER 7/8", INCLUDING CONNECTIONS | M | 24
0 |  | COLD AIR CONDITIONING, SPLIT CASSETTE TYPE WITH 18,000 BTU/H CAPACITY | CJ | 3
0 |  | COLD AIR CONDITIONING, SPLIT WALL TYPE WITH 12,000 BTU/H CAPACITY | CJ | 9
0 |  | COLD AIR CONDITIONING, SPLIT FLOOR CEILING TYPE WITH A CAPACITY OF 48,000 BTU/H | CJ | 4
0 |  | SPLITÃO AIR CONDITIONING 10 TR - SUPPLY AND INSTALLATION. AF_11/2021_PE | UN | 4
3.8.7 | 3.8.7 | SWITCHBOARDS AND CIRCUIT BREAKERS
0 |  | LOW VOLTAGE THREE-POLE DRY CIRCUIT BREAKER 800A/600V - SUPPLY AND INSTALLATION. AF_10/2020 | UN | 5
0 |  | DIN TYPE SINGLE-POLE CIRCUIT BREAKER, NOMINAL CURRENT OF 16A - SUPPLY AND INSTALLATION. AF_10/2020 | UN | 9
0 |  | DIN TYPE SINGLE-POLE CIRCUIT BREAKER, 20A RATED CURRENT - SUPPLY AND INSTALLATION. AF_10/2020 | UN | 62
0 |  | DIN TYPE SINGLE-POLE CIRCUIT BREAKER, 25A RATED CURRENT - SUPPLY AND INSTALLATION. AF_10/2020 | UN | 31
0 |  | DIN TYPE SINGLE-POLE CIRCUIT BREAKER, 32A RATED CURRENT - SUPPLY AND INSTALLATION. AF_10/2020 | UN | 7
0 |  | DIN TYPE SINGLE-POLE CIRCUIT BREAKER, 50A RATED CURRENT - SUPPLY AND INSTALLATION. AF_10/2020 | UN | 8
0 |  | DIN TYPE THREE-POLE CIRCUIT BREAKER, 25A RATED CURRENT - SUPPLY AND INSTALLATION. AF_10/2020 | UN | 2
0 |  | DIN TYPE THREE-POLE CIRCUIT BREAKER, 32A RATED CURRENT - SUPPLY AND INSTALLATION. AF_10/2020 | UN | 3
0 |  | GALVANIZED STEEL PLATE POWER DISTRIBUTION PANEL, FLUSH-MOUNTED, WITH THREE-PHASE BUSBAR, FOR 30 DIN 225A CIRCUIT BREAKERS - SUPPLY AND INSTALLATION. AF_10/2020 | UN | 3
0 |  | GALVANIZED STEEL PLATE POWER DISTRIBUTION PANEL, FLUSH-MOUNTED, WITH THREE-PHASE BUSBAR, FOR 40 DIN 100A CIRCUIT BREAKERS - SUPPLY AND INSTALLATION. AF_10/2020 | UN | 1
0 |  | SURGE PROTECTION DEVICE - DPS - 500 VDC - 45 KA - CLASS II | UN | 8
0 |  | SURGE PROTECTION DEVICE - DPS - 1000 VDC - 45 KA - CLASS I | UN | 4
3.8.8 | 3.8.8 | SOLAR ENERGY
0 |  | ALUMINUM COLLECTOR FOR SOLAR HEATING SYSTEM WITH COLLECTION AREA UP TO 2.00 M² | UN | 358
0 |  | PHOTOVOLTAIC INVERTER THREE-PHASE OUTPUT - 15 KW - INPUT UP TO 1000 VDC - MINIMUM EFFICIENCY 95% | UN | 3
0 |  | CABLE 6.00MM2 - INSULATION FOR 1.0KV - CLASS 4 - FLEXIBLE | M | 3600
3.9 | 3.9 | LIGHTING
0 |  | ADJUSTABLE LINEAR PROJECTOR WITH ANTI-GLARE CONTROL AND PROTECTION FOR OUTDOOR AREAS. (L=5.8M) | UN | 1
0 |  | ADJUSTABLE LINEAR PROJECTOR WITH ANTI-GLARE CONTROL AND PROTECTION FOR OUTDOOR AREAS. (L=4.8M) | UN | 1
0 |  | ROUND GROUND INSTALLATION WITH PROTECTION FOR OUTDOOR AREAS. | UN | 5
0 |  | DIFFUSE LINEAR PROFILE WITH PROTECTION FOR EXTERNAL AREAS. (L=3.6M) | UN | 1
0 |  | ROAD LIGHT WITH SQUARE SECTION BODY. | UN | 2
0 |  | ROUND POST TOP LIGHT FOR URBAN SPACES. | UN | 15
0 |  | ROUND RECESSED LIGHTING LIGHT, WITH FIXED FOCUS. | UN | 16
0 |  | RECESSED DIFFUSE LINEAR LIGHTING. (L=0.85M) | UN | 1
0 |  | RECESSED DIFFUSE LINEAR LIGHTING. (L=4.40M) | UN | 2
0 |  | RECESSED DIFFUSE LINEAR LIGHTING. (L=1.00M) | UN | 1
0 |  | PENDANT TRACK WITH DIRECT AND INDIRECT LIGHT. (L=19.30M) | UN | 1
0 |  | PENDANT TRACK WITH DIRECT AND INDIRECT LIGHT. (L=23.80M) | UN | 1
0 |  | PENDANT TRACK WITH DIRECT AND INDIRECT LIGHT. (L=24.90M) | UN | 3
0 |  | PENDANT TRACK WITH DIRECT AND INDIRECT LIGHT. (L=22.7M) | UN | 1
0 |  | DIFFUSE LINEAR OVERLAY AND PROTECTIVE LIGHTING FOR OUTDOOR AREAS. (L=3.60M) | UN | 1
0 |  | DIFFUSE LINEAR OVERLAY AND PROTECTIVE LIGHTING FOR OUTDOOR AREAS. (L=7.20M) | UN | 1
0 |  | DIFFUSE LINEAR OVERLAY AND PROTECTIVE LIGHTING FOR OUTDOOR AREAS. (L=3.40M) | UN | 2
0 |  | DIFFUSE LINEAR OVERLAY AND PROTECTIVE LIGHTING FOR OUTDOOR AREAS. (L=7.60M) | UN | 4
0 |  | DIFFUSE LINEAR OVERLAY AND PROTECTIVE LIGHTING FOR OUTDOOR AREAS. (L=3.20M) | UN | 1
0 |  | ADJUSTABLE PROJECTOR WITH BASE FOR FIXING AND PROTECTION FOR OUTDOOR AREAS. | UN | 27
3.10 | 3.10 | HYDROSANITARY INSTALLATIONS
3.10.1 | 3.10.1 | RAINFALL
0 |  | RIGID PVC PIPE, END AND BAG (SEWAGE LINE) - 40MM (1 1/2") | M | 35.13
0 |  | RIGID PVC PIPE, END AND BAG (SEWAGE LINE) - 50MM (2") | M | 2.67
0 |  | RIGID PVC PIPE, END AND BAG (SEWAGE LINE) - 75MM (3") | M | 60.75
0 |  | RIGID PVC PIPE, END AND BAG (SEWAGE LINE) - 100MM (4") | M | 42.85
0 |  | CONICAL DRY DRAIN, PVC, DN 100 X 40 MM, WELDABLE JOINT, SUPPLIED AND INSTALLED IN DISCHARGE BRANCH OR IN SANITARY SEWAGE BRANCH. AF_08/2022 | UN | 2
0 |  | CAST IRON HEMISPHERE GRILL - 75MM | UN | 2
0 |  | 100 X 40 MM RIGID PVC DRY DRAIN WITH GRID | UN | 2
0 |  | HA.01 - CONNECTION OR INSPECTION BOX - EXCAVATION AND ROCKING | M3 | 3.5
0 |  | HA.01 - CONNECTION OR INSPECTION BOX - CONCRETE BALLAST (BOTTOM) | M3 | 0.25
0 |  | HA.01 - CONNECTION OR INSPECTION BOX - 1 BRICK MASONRY, COATED | M2 | 15.488
0 |  | HA.01 - CONNECTION OR INSPECTION BOX - CONCRETE COVER | M2 | 0.36
3.10.2 | 3.10.2 | COLD / HOT WATER
0 |  | PIPE, PPR, DN 32, CLASS PN 12, INSTALLED IN WATER DISTRIBUTION BRANCH SUPPLY AND INSTALLATION. AF_08/2022 | M | 448.76
0 |  | PIPE, PPR, DN 50 MM, CLASS PN 12, INSTALLED IN A BUILDING WATER TANK - SUPPLY AND INSTALLATION. AF_04/2024 | M | 131.85
0 |  | PIPE, PPR, DN 32, CLASS PN 25, INSTALLED IN WATER DISTRIBUTION BRANCH SUPPLY AND INSTALLATION. AF_08/2022 | M | 78.69
0 |  | REDUCING BUSHING, PPR, DN 50 X 32 MM, INSTALLED IN A BUILDING WATER TANK - SUPPLY AND INSTALLATION. AF_04/2024 | UN | 13
0 |  | CAP, PVC, SERIE R, RAINWATER, DN 100 MM, ELASTIC JOINT, SUPPLIED AND INSTALLED IN THE ROUTING BRANCH. AF_06/2022 | UN | 9
0 |  | FEMALE CONNECTOR, PPR, 32 X 3/4", CLASS PN 25, INSTALLED IN WATER DISTRIBUTION BRANCH SUPPLY AND INSTALLATION. AF_08/2022 | UN | 37
0 |  | FEMALE CONNECTOR, PPR, 32 X 3/4", CLASS PN 25, INSTALLED IN WATER DISTRIBUTION BRANCH SUPPLY AND INSTALLATION. AF_08/2022 | UN | 37
0 |  | FEMALE CONNECTOR, PPR, 32 X 3/4", CLASS PN 25, INSTALLED IN WATER DISTRIBUTION BRANCH SUPPLY AND INSTALLATION. AF_08/2022 | UN | 37
0 |  | MALE CONNECTOR, PPR, 32 X 3/4", CLASS PN 25, INSTALLED IN WATER DISTRIBUTION BRANCH SUPPLY AND INSTALLATION. AF_08/2022 | UN | 214
0 |  | MALE CONNECTOR, PPR, 32 X 3/4", CLASS PN 25, INSTALLED IN WATER DISTRIBUTION BRANCH SUPPLY AND INSTALLATION. AF_08/2022 | UN | 214
0 |  | MALE CONNECTOR, PPR, 32 X 3/4", CLASS PN 25, INSTALLED IN WATER DISTRIBUTION BRANCH SUPPLY AND INSTALLATION. AF_08/2022 | UN | 214
0 |  | 90 DEGREE ELBOW, PPR, DN 32 MM, CLASS PN 25, INSTALLED IN DISTRIBUTION BRANCH - SUPPLY AND INSTALLATION. AF_08/2022 | UN | 260
0 |  | 90 DEGREE ELBOW, PPR, DN 50 MM, CLASS PN 25, INSTALLED IN WATER SUPPLY AND INSTALLATION . AF_08/2022 | UN | 48
0 |  | MALE CONNECTOR, PPR, 32 X 3/4", CLASS PN 25, INSTALLED IN WATER DISTRIBUTION BRANCH SUPPLY AND INSTALLATION. AF_08/2022 | UN | 214
0 |  | STANDARD TEE, PPR, DN 50 MM, CLASS PN 25, INSTALLED IN WATER SUPPLY AND INSTALLATION . AF_08/2022 | UN | 22
0 |  | STANDARD TEE, PPR, DN 32 MM, CLASS PN 25, INSTALLED IN WATER DISTRIBUTION BRANCH SUPPLY AND INSTALLATION. AF_08/2022 | UN | 167
0 |  | STANDARD TEE, PPR, DN 50 MM, CLASS PN 25, INSTALLED IN WATER SUPPLY AND INSTALLATION . AF_08/2022 | UN | 22
0 |  | FLANGE UNION, PPR, WITH BOLTS, DN 40 MM, INSTALLED IN A BUILDING WATER RESERVOIR - SUPPLY AND INSTALLATION. AF_04/2024 | UN | 4
0 |  | WATER METER DN 1/2", 1.5 M3/H - SUPPLY AND INSTALLATION. AF_03/2024 | UN | 1
0 |  | CIRCULATION PUMP FOR HOT WATER | UN | 2
0 |  | DRAWER REGISTER, YELLOW METAL - 1" | UN | 102
0 |  | RAW BALL VALVE, BRONZE, THREADABLE, 1 1/2'' - SUPPLY AND INSTALLATION. AF_08/2021 | UN | 4
0 |  | RAW BALL VALVE, BRONZE, THREADABLE, 1'' - SUPPLY AND INSTALLATION. AF_08/2021 | UN | 5
0 |  | HORIZONTAL CHECK VALVE - 1 1/2" | UN | 1
0 |  | HORIZONTAL CHECK VALVE - 1" | UN | 1
3.10.3 | 3.10.3 | SEWAGE
0 |  | RIGID PVC PIPE, END AND BAG (SEWAGE LINE) - 40MM (1 1/2") | M | 231.39
0 |  | RIGID PVC PIPE, END AND BAG (SEWAGE LINE) - 50MM (2") | M | 683.65
0 |  | RIGID PVC PIPE, END AND BAG (SEWAGE LINE) - 75MM (3") | M | 20.76
0 |  | RIGID PVC PIPE, END AND BAG (SEWAGE LINE) - 100MM (4") | M | 358.69
0 |  | RIGID PVC PIPE, END AND BAG (SEWAGE LINE) - 150MM (6") | M | 41.27
0 |  | VENTILATION TERMINAL, PVC, NORMAL SERIES, BUILDING SEWAGE, DN 50 MM, WELDABLE JOINT, SUPPLIED AND INSTALLED IN SANITARY SEWAGE OR VENTILATION PIPE. AF_08/2022 | UN | 4
0 |  | VENTILATION TERMINAL, PVC, NORMAL SERIES, BUILDING SEWAGE, DN 75 MM, WELDABLE JOINT, SUPPLIED AND INSTALLED IN SANITARY SEWAGE OR VENTILATION RISE. AF_08/2022 | UN | 3
0 |  | SPECIAL GREASE TRAP (CAPACITY: 312 L - FOR UP TO 146 PEOPLE SERVED AT PEAK), RECTANGULAR, IN MASONRY WITH CONCRETE BLOCKS, INTERNAL DIMENSIONS = 0.4X1.2 M, INTERNAL HEIGHT = 1 M. AF_12/2020 | UN | 4
0 |  | SMALL GREASE TRAP (CAPACITY: 19 L), CIRCULAR, IN PVC, INTERNAL DIAMETER = 0.3 M. AF_12/2020 | UN | 3
0 |  | HA.01 - CONNECTION OR INSPECTION BOX - EXCAVATION AND ROCKING | M3 | 5.02
0 |  | HA.01 - CONNECTION OR INSPECTION BOX - CONCRETE BALLAST (BOTTOM) | M3 | 0.25
0 |  | CONNECTION OR INSPECTION BOX - 1 BRICK MASONRY, COATED | M2 | 22.24
0 |  | HA.01 - CONNECTION OR INSPECTION BOX - CONCRETE COVER | M2 | 0.36
0 |  | 100 X 100 X 50 MM RIGID PVC SIPHONE BOX, WITH GRID | UN | 23
0 |  | 100 X 150 X 50 MM RIGID PVC SIPHONE BOX, WITH GRID | UN | 2
0 |  | EXTENSION FOR SIPHONE BOX IN HIGH RESISTANCE PROLYPROPYLENE PP, BLACK, DN= 125MM | UN | 3
0 |  | RIGID PVC DRY DRAIN, WITH 40MM WELDED OUTLET - DIAMETER 100MM | UN | 36
0 |  | PRE-CAST CONCRETE GRID, WITH ROUND HOLES, 79.5 X 24.5 X 8 CM | UN | 317
3.10.4 | 3.10.4 | SANITARY PARTS
0 |  | WHITE WAREHOUSE TOILET WITH FITTED TANK | UN | 17
0 |  | PLASTIC LID FOR TOILET | UN | 17
0 |  | BB-02 ACCESSIBLE CHILLED WATER FOUNTAIN MINIMUM PRESSURE 8MCA - SUPPLIED AND INSTALLED | UN | 2
0 |  | STAINLESS STEEL SINGLE BOWL PLATE 20 - 500X400X150MM | UN | 118
0 |  | HIGH ARTICULATING TABLE SPOUT - 1/2" | UN | 68
0 |  | TABLE TAP WITH MANUAL ACTUATOR AND AUTOMATIC CLOSING | UN | 16
0 |  | HD.16 - GARDEN TAP | UN | 20
0 |  | THERMOSTAT MIXER FOR SHOWER OR DOUBLE SHOWER, CHROME FINISH | UN | 9
0 |  | CHILLED WATER PURIFIER/DRINKING FOUNTAIN | UN | 4
0 |  | 30 LITER DISHWASHER TANK WITH COLUMN | UN | 6
0 |  | LT-06 COMMUNAL WASHBASIN WITH ANTI-VANDALISM TAP | M | 5
0 |  | DP.02 - GALVANIZED IRON SAILOR'S LADDER WITH GUARDRAIL | M | 2.5
0 |  | STRAIGHT GRAB BAR, IN POLISHED STAINLESS STEEL, LENGTH 70 CM, WALL MOUNTED - SUPPLY AND INSTALLATION. AF_01/2020 | UN | 4
0 |  | GRAB BAR FOR DISABLED PEOPLE L=80 CM (BAR WITH DIAMETER BETWEEN 3.0 AND 4.5 CM) | UN | 2
0 |  | SUPPORT BAR FOR THE DISABLED L=45 CM (BAR WITH DIAMETER BETWEEN 3.0 AND 4.5 CM) | UN | 4
0 |  | STAINLESS STEEL SOLAR BOILER/THERMAL RESERVOIR 600 L WITH 3 COLLECTOR PLATES IN TEMPERED GLASS WITH 2 X 1 M COPPER TUBE COIL - SUPPLY AND INSTALLATION. AF_12/2021 | UN | 2
0 |  | WALL MOUNTED, MANUAL, SOAP DISPENSER FOR BATHROOMS, ABS, HIGH IMPACT, WITH 800/900ML RESERVOIR | UN | 16
0 |  | PAPER TOWEL DISPENSER, WALL MOUNTED, MANUAL, FOR BATHROOMS - ABS - HIGH IMPACT - AUTO CUTTING | UN | 13
0 |  | ABS TOILET PAPER DISPENSER FOR 300/600 M ROLL, WITH DISPLAY | UN | 17
0 |  | STANDARD MIRROR - THICKNESS 3MM | M2 | 5.44
3.11 | 3.11 | FIRE DETECTION, PROTECTION AND FIGHTING
3.11.1 | 3.11.1 | FIRE PREVENTION AND FIGHTING EQUIPMENT
0 |  | MANUAL PRESSURIZED WATER EXTINGUISHER - 10 LITER CAPACITY | UN | 9
0 |  | MANUAL DRY CHEMICAL POWDER EXTINGUISHER 20 BC - 12 KG CAPACITY | UN | 8
0 |  | ABC MANUAL DRY CHEMICAL POWDER EXTINGUISHER - 6 KG CAPACITY | UN | 7
0 |  | COMPLETE 1 1/2' HYDRANT SHELTER - INCLUDES 30 M HOSE (2 X 15 M) | UN | 5
0 |  | BREAK-GLASS TYPE FIRE PUMP ACTUATOR PUSH BUTTON | UN | 5
0 |  | COMPLETE COLUMN TYPE DISCHARGE REGISTRATION SHELTER - INCLUDING PIPES AND VALVES | UN | 1
0 |  | ELECTRONIC SIREN IN 4 X 4 METAL BOX | UN | 5
0 |  | GALVANIZED STEEL PIPE WITH SEAM, MEDIUM CLASS, DN 65 (2 1/2"), THREADED CONNECTION, INSTALLED IN SUPPLY NETWORK FOR HYDRANT - SUPPLY AND INSTALLATION. AF_10/2020 | M | 97
3.11.2 | 3.11.2 | EMERGENCY LIGHTING
0 |  | LED EMERGENCY LIGHT, SURFACE MOUNTED, FOR CEILING OR WALL, MINIMUM AUTONOMY 2 HOURS | UN | 43
3.11.3 | 3.11.3 | EMERGENCY SIGNALING
0 |  | PHOTOLUMINESCENT PVC SIGNALING PLATE (200X200MM), WITH INDICATION OF ALARM, FIRE DETECTION AND EXTINCTION EQUIPMENT | UN | 10
0 |  | PHOTOLUMINESCENT PVC SIGNALING PLATE (150X150MM), WITH INDICATION OF FIRE FIGHTING AND ALARM EQUIPMENT | UN | 24
0 |  | PHOTOLUMINESCENT PVC SIGNALING PLATE (240X120MM), INDICATING EVACUATION ROUTE AND EMERGENCY EXIT | UN | 42
0 |  | PHOTOLUMINESCENT PVC SIGNALING PLATE, WITH FLOOR IDENTIFICATION | UN | 9
0 |  | PVC SIGNALING PLATE WITH WARNING INDICATION | UN | 8
0 |  | PVC SIGNALING PLATE, WITH INDICATION OF REGULATORY PROHIBITION | UN | 7
0 |  | PVC SIGNALING PLATE FOR ENVIRONMENTS | UN | 9
3.12 | 3.12 | FLOORS
0 |  | FLOOR WITH SIMPLE CONCRETE FRAME WITH FCK CONTROL= 25 MPA | M3 | 80.08
0 |  | SURFACE WATERPROOFING WITH POLYURETHANE MEMBRANE, 2 COATS. AF_09/2023 | M2 | 460.53
0 |  | EXTRUDED UNGLAZED CERAMIC PLATE WITH HIGH CHEMICAL AND MECHANICAL RESISTANCE, 9 MM THICK, INDUSTRIAL USE, LAYED WITH INDUSTRIAL ADHESIVE MORTAR | M2 | 16.33
0 |  | FLOOR PAINTING WITH EPOXY PAINT, MANUAL APPLICATION, 2 COATS, INCLUDING EPOXY PRIMER. AF_05/2021 | M2 | 894.74
0 |  | FLOOR PAINTING WITH EPOXY PAINT, MANUAL APPLICATION, 2 COATS, INCLUDING EPOXY PRIMER. AF_05/2021 | M2 | 96
0 |  | CARPET COVERING FOR MODERATE TRAFFIC, COMMERCIAL USE, 5.4 TO 8 MM LOOP TYPE | M2 | 121.13
0 |  | STONE FLOOR LAYED ON 1:3 MORTAR (CEMENT AND SAND). AF_09/2020 | M2 | 76.9
3.13 | 3.13 | BENCH
0 |  | STAINLESS STEEL TABLE, WIDTH UP TO 700 MM | M | 31.27
0 |  | FISH DISPLAY STAND | UN | 80
3.14 | 3.14 | CLEANING
0 |  | Final cleaning of the work | M2 | 1942.14
4 | 4 | TECHNICAL AREA
4.1 | 4.1 | PRELIMINARY SERVICES
0 |  | RENTAL OF BUILDING WORKS | M2 | 93.1
4.2 | 4.2 | FOUNDATIONS
0 |  | MANUAL EXCAVATION WITH A DEPTH EQUAL TO OR LESS THAN 1.50M | M3 | 4.54
0 |  | ROCKING THE BOTTOM OF DITCHES FOR SIMPLE REGULARIZATION | M2 | 7.56
0 |  | COMMON FORM OF PINE BOARDS | M2 | 51.2
0 |  | HD.23 - GRAVE BALLAST | M3 | 27.76
0 |  | CA-50 STEEL ARMOR | KG | 753
0 |  | FCK CONCRETE = 40.0MPA - MACHINED | M3 | 8.88
0 |  | WATERPROOFING WITH ASPHALT BLANKET WITH REINFORCEMENT, TYPE III-B, 3 MM THICKNESS | M2 | 51.2
4.3 | 4.3 | SUPERSTRUCTURE
0 |  | CA-50 STEEL ARMOR | KG | 964
0 |  | CA-60 STEEL ARMOR | KG | 99
0 |  | FCK CONCRETE = 40.0MPA - MACHINED | M3 | 10.26
0 |  | COMMON FORM OF PINE BOARDS - FLAT | M2 | 90.7
4.4 | 4.4 | VEDOS
0 |  | STANDARD CERAMIC BLOCK - 14CM | M2 | 157.09
0 |  | SINGLE MASS, IN MORTAR RATIO 1:2:8, MANUAL PREPARATION, APPLIED MANUALLY ON INTERNAL WALLS OF ROOMS WITH AREA BETWEEN 5M² AND 10M², E = 17.5MM, WITH TALISCAS. AF_03/2024 | M2 | 157.09
0 |  | 20X20 CM ENAMELED CERAMIC PLATE COATING, MONOCOLOR TYPE, LAYED AND GROUTED WITH INDUSTRIALIZED MORTAR | M2 | 16.33
0 |  | ACRYLIC PAINT - CONCRETE OR PLASTER WITHOUT STAINLESS STEEL | M2 | 157.09
0 |  | MIRACEMA STONE COATING | M2 | 183.92
4.5 | 4.5 | COVERAGE
0 |  | FILLING WITH EXPANDED CLAY | M3 | 4.81
0 |  | FRAMES
0 |  | CUSTOM-MADE ANODIZED ALUMINUM OPENING DOOR - BRONZE/BLACK | M2 | 10.5
0 |  | CUSTOM-MADE ANODIZED ALUMINUM SLIDING DOOR - BRONZE/BLACK | M2 | 8.82
0 |  | CA.13 - ANODIZED ALUMINUM WINDOW - TILTING | M2 | 1.2
4.7 | 4.7 | GLASSES
0 |  | 6MM CLEAR SMOOTH GLASS | M2 | 10.02
4.8 | 4.8 | FLOORS
0 |  | FLOOR WITH SIMPLE CONCRETE FRAME WITH FCK CONTROL= 25 MPA | M3 | 2.2875
0 |  | SURFACE WATERPROOFING WITH POLYURETHANE MEMBRANE, 2 COATS. AF_09/2023 | M2 | 18.95
0 |  | PREPARING THE SUB-FLOOR WITH POLISHER. AF_09/2020 | M2 | 26.8
5 | 5 | PIER / CAIS
5.1 | 5.1 | PRELIMINARY SERVICES
0 |  | RENTAL OF BUILDING WORKS | M2 | 2464.34
5.2 | 5.2 | EARTHMOVING
0 |  | CUTTING AND LOADING FOR DISPOSAL, INCLUDING TRANSPORTATION UP TO 1KM | M3 | 57.68
0 |  | MECHANIZED EXCAVATION AND LOADING FOR SOIL EXPLORATION IN A DEPOSIT | M3 | 2298.51
0 |  | TRANSPORTATION OF 1ST AND 2ND CATEGORY SOIL BY TRUCK FOR DISTANCES OVER 10TH KM TO 15TH KM | M3 | 2298.51
0 |  | BACKFILLING, INCLUDING COMPACTION | M3 | 2298.51
0 |  | TRANSPORTATION OF EARTH BY DUMP TRUCK, FROM 1KM | M3XKM | 1730.4
5.3 | 5.3 | FOUNDATION
0 |  | MECHANIZED BACKFILL COMPACTION MINIMUM OF 95% PN, WITHOUT SUPPLY OF SOIL IN CLOSED AREAS | M3 | 678.55
0 |  | LEAN CONCRETE BALLAST, APPLIED ON FLOORS, SLABS ON GROUND OR RADIES, THICKNESS OF 5 CM. AF_01/2024 | M2 | 2261.84
0 |  | FRAME FOR EXECUTING RADIERS, CONCRETE FLOOR OR SLAB ON GROUND, USING Q-283 SCREEN. AF_09/2021 | KG | 25748.66
0 |  | FCK CONCRETE = 40.0MPA - MACHINED | M3 | 473.16
0 |  | CA-50 STEEL ARMOR | KG | 647
0 |  | COMMON FORM OF PINE BOARDS | M2 | 36
0 |  | WATERPROOFING WITH ASPHALT BLANKET WITH REINFORCEMENT, TYPE III-B, 3 MM THICKNESS | M2 | 36
5.4 | 5.4 | SUPERSTRUCTURE
0 |  | CA-50 STEEL ARMOR | KG | 5112
0 |  | CA-60 STEEL ARMOR | KG | 41
0 |  | FCK CONCRETE = 40.0MPA - MACHINED | M3 | 58.79
0 |  | COMMON FORM OF PINE BOARDS - FLAT | M2 | 232.02
0 |  | BOX-TYPE GABION IN METAL SCREEN, 1 M HEIGHT, WITH ZINC/ALUMINUM ALLOY COATING, 8/10 CM HEXAGONAL MESH, 2.7 MM DIAMETER WIRE, REGARDLESS OF SHAPE OR USE | M3 | 1322.55
0 |  | DRAIN WITH CRUSHED STONE | M3 | 112.19
| 6 | IMPLEMENTATION OF PGAS
| - | GENERAL MEASURES FOR POLLUTION MITIGATION AND CONTROL | VB | -
| - | SPECIFIC SAFETY MEASURES AND PERSONAL PROTECTIVE EQUIPMENT, SECURITY, ETC. | VB | -
| - | COMPLAINTS MANAGEMENT MECHANISM | VB | -
| - | TRAINING, EDUCATION AND AWARENESS RAISING | VB | -

## ADJUSTMENT (hidden)
ADJUSTMENT
INDEX DATABASE | 1047.66
INDEX 02-2023 | 1048
CDHU INDEX | 0.99968